Hygienic Design
1. You can’t make clean stuff with dirty machines
http://c.o0bg.com/rf/image_960w/Boston/2011-2020/2012/11/29/BostonGlobe.com/HealthScience/Images/nec2.jpg
https://commons.wikimedia.org/wiki/File:Dpk-meningitis-exserohilum2.jpg#/media/File:Dpk-meningitis-exserohilum2.jpg

---
Hygienic Design
1. Making stuff clean to start with is better than cleaning stuff once made.
3. For production equipment:
4. - Cleaning starts with removing surface dirt
5. - Disinfect with surface cleaner
6. - Final step is sterilization

---
Hygienic Design
1. For final product:
2. - Prevent particulate contamination
3. - Prevent microbial contamination
4. - Final step is sterilization of product and packaging

---
Hygienic Design
1. It isn’t clean if you can’t prove it’s clean
3. FDA:
4. - cGMP: (current) Good Manufacturing Practice
5. - 21 CFR Chapter I parts 1 to 1271
6. (parts 800-898 medical devices)
7. - Installation qualification (IQ)
8. - operational qualification (OQ)
9. - performance qualification (PQ)

---
Hygienic Design
1. Once it’s clean, you’ve got to keep it clean
3. - packaging and distribution

---
Hygienic Machines - Fastening
1. - screws
2. - no sockets, recesses, or slots
3. - no metal-to-metal seal
4. - threads
5. - glue (Master Bond EP42HT-2MED)

---
Hygienic Hardware

---
Sealing
- O-rings
https://promo.parker.com/promotionsite/oring-ehandbook/us/ehome

---
Dirt Drifts Down
1. - airborne bacteria and contaminants drift down and land on upward-facing surfaces
2. - design machines with smooth upper surfaces
3. - shield moving parts that may shed particles

---
Autoclave Sterilization
1. - 135C, 15psi steam, up to 1hr

---
Materials
3. Polymers:
4. - silicone
5. - PTFE (Teflon)
6. - PEEK / Ultem
7. - polycarbonate
8. - polysulfone
1. - high temperature
2. - biocompatibility
3. - bioinert
4. - antimicrobial
5. - integrate with tissue
7. Metals:
8. - stainless steel
9. - copper alloys
10. - titanium

---
Hydrogen Peroxide Sterilization
- Vapor or ionized H2O2

---
UV Sterilization
1. - Short wavelength UV light is cheap and effective
2. - Light has to reach microbes
3. - 260-265nm wavelength (UVC) disrupts DNA

---
Gamma Ray Sterilization
1. - Big, centralized solution
2. - Radiation can change polymer properties