PLC Front Panel

---
PLC Wiring
- Power Inputs
- Signal Inputs
- Control Outputs

---
PLC Isolation

---
Safety Shutdown
Three levels of protection:
PLC logic - shutdown sequence
PLC output power disconnect
E-Stop shutdown of all energy sources

---
Power Wiring

---
Sinking and Sourcing
- Sinking = drawing current
- Sourcing = supplying current
- Sinking output connects to sourcing input
- Sourcing output connects to sinking input

---
PLC Signal Inputs

---
Signal Inputs
Sourcing Inputs

---
Typical Input Device
The tag indicates that the LOAD (PLC input) has a +DC common
  - this is a sinking output
  - Sinking output => sourcing input

---
DC Control Outputs

---
DC Control Outputs